## Slide 1: Reading Electrical Schematics
These basic tutorials start with electrical symbols and schematic design and proceed to include the specific schematics for the production machines you use in your plant. They are designed to help you use an electrical schematic to work your way through any problem that may occur during the manufacturing process.
Being able to read and understand an electrical schematic is the fastest
way to solve an electrical problem. We suggest that you start with the tutorial named What is an Electrical Schematic, to help you understand what some of the electrical symbols represent and how the electrical schematics work. The tutorials will run automatically in Windows® Media Player.
You can pause, go forward, or go backward during the presentation. When finished, just close Media Player. Each module takes about ½ hour to complete.
What Is an Electrical Schematic?

## Slide 2
Reading Electrical Schematics
X1
X2
1
1
3
4
M Aux
CR
1
5
1
2
3
4
4,
CR
U SOL.
RUN
OL
CB2
10A
CB3
10A
120 VAC
480 VAC
PB1
PB2
XFR
GRD
E-Stop
Start

## Slide 3
L1
L2
L3
X1
X2
1
CB1
30A
CB2
10A
CB3
10A
120 VAC
480 VAC
480 VAC
XFR
GRD
3 pole circuit breaker
2 pole circuit breaker
Single pole circuit breaker
Control transformer
Motor starter
With overload attached
Reading Electrical Schematics

## Slide 4
L1
L2
L3
X1
X2
1
1
3
4
M Aux
CR
1
5
CB1
30A
CB2
10A
CB3
10A
120 VAC
480 VAC
480 VAC
(13)
(14)
(11)
(14)
(A1)
(A1)
PB1
PB2
XFR
GRD
WIRING
Terminal on that device
(#) (A#)
(1)
(2)
(3)
(4)
E-Stop
Start
4
Reading Electrical Schematics

## Slide 5
WIRING
Terminal on that device
(#) (A#)
L1
L2
L3
X1
X2
1
1
3
4
M Aux
CR
1
5
OL
CB1
30A
CB2
10A
CB3
10A
120 VAC
480 VAC
480 VAC
(13)
(14)
(11)
(14)
(A1)
(A2)
(A1)
(A2)
(95)
(96)
PB1
PB2
XFR
GRD
(1)
(2)
(3)
(4)
E-Stop
Start
Overload relay
Reading Electrical Schematics
Screw terminals for the coil
on the motor starter
Screw terminals 95 and
on the overload relay NC
means normally closed
96

## Slide 6
WIRING
Terminal on that device
(#) (A#)
L1
L2
L3
X1
X2
1
1
3
4
M Aux
CR
1
5
1
2
3
4
4,
CR
U SOL.
RUN
CB1
30A
CB2
10A
CB3
10A
120 VAC
480 VAC
480 VAC
(13)
(14)
(11)
(14)
(A1)
(A2)
(A1)
(A2)
(95)
(96)
PB1
PB2
XFR
GRD
(1)
(2)
(3)
(4)
E-Stop
Start
Hydraulic cylinder
Running the circuit

## Slide 7
L1
L2
L3
X1
X2
1
1
3
4
M Aux
CR1
1a
1
2
3
4
CR1
U SOL.
RUN
OL
CB1
30A
CB2
10A
CB3
10A
120 VAC
480 VAC
480 VAC
(13)
(14)
(11)
(14)
(A1)
(A2)
(A1)
(A2)
(95)
(96)
PB1
PB2
XFR
GRD
(1)
(2)
(3)
(4)
E-Stop
Start
1a
6
7
(3)
(4)
LS1
PB4
Down
CR1
CR2
(11)
(14)
CR2
CR2
(3)
(4)
LS2
D Sol.
1a
1a
8
9
10
(A1)
(A2)
5
6
(21)
(24)
(24)
(21)
(7)
(8)
(7)
(8)
M Aux1
(13)
(14)
CR2
CR1
PB3
Up
(11)
(12)
(11)
(12)
5
11
12
CR1
3,4,5
-
CR2
3,5,6
-
Limit switch
Reading Electrical Schematics

## Slide 8
L1
L2
L3
X1
X2
1
1
3
4
M Aux
CR1
1a
5
1
2
3
4
U SOL.
RUN
OL
CB1
30A
CB2
10A
CB3
10A
120 VAC
480 VAC
480 VAC
(13)
(14)
(11)
(14)
(A1)
(A2)
(A1)
(A2)
(96)
PB1
PB2
XFR
GRD
(1)
(2)
(3)
(4)
E-Stop
Start
Hydraulic cylinder
1a
6
7
(3)
(4)
LS1
PB4
Down
CR1
(11)
(14)
CR2
CR2
(3)
(4)
LS2
D Sol.
1a
8
9
10
(A1)
(A2)
5
6
(21)
(24)
(24)
(21)
(7)
(8)
(7)
(8)
M Aux1
(13)
(14)
CR2
CR1
PB3
Up
(11)
(12)
(11)
(12)
3,4,5
CR1
CR1
3,5,6
CR2
CR2
11
12
-
-
1a
Test the circuit
LS1
LS2

## Slide 9
L1
L2
L3
X1
X2
1
1
3
4
M Aux
CR1
1a
1
2
3
4
CR1
U SOL.
RUN
OL
CB1
30A
CB2
10A
CB3
10A
120 VAC
480 VAC
480 VAC
(13)
(14)
(11)
(14)
(A1)
(A2)
(A1)
(A2)
(95)
(96)
PB1
PB2
XFR
GRD
(1)
(2)
(3)
(4)
E-Stop
Start
1a
6
7
(3)
(4)
LS1
PB4
Down
CR1
CR2
(11)
(14)
CR2
CR2
(3)
(4)
LS2
D Sol.
1a
1a
8
9
10
(A1)
(A2)
5
6
(21)
(24)
(24)
(21)
(7)
(8)
(7)
(8)
M Aux1
(13)
(14)
CR2
CR1
PB3
Up
(11)
(12)
(11)
(12)
5
11
12
CR1
3,4,5
-
CR2
3,5,6
-
Reading Electrical Schematics

## Slide 10
L1
L2
L3
X1
X2
1
1
3
4
M Aux
CR
1
5
1
2
3
4
4,
CR
U SOL.
RUN
OL
CB1
30A
CB2
10A
CB3
10A
120 VAC
480 VAC
480 VAC
(13)
(14)
(11)
(14)
(A1)
(A2)
(A1)
(A2)
(95)
(96)
PB1
PB2
XFR
GRD
WIRING
Terminal on that device
(#)
Symbols
Symbols
(1)
(2)
(3)
(4)
E-Stop
Start
Reading Electrical Schematics